## Slide 1: Sensor Pod Configuration at TFRI with PRIME Week 6
Thaddeus Trinh
August 7, 2013

## Slide 2: Proposed Research
To work with TFRI to help integrate new sensors into their Android sensor pod network and to deploy and test the new sensors in the field
  Fuel Moisture Sensor
  Solar Irradiation Sensor
  Soil Moisture Sensor
  Soil Drainage Gauge

## Slide 3: Progress (Week 6)
Waiting on the LT1168 Resistance to Voltage reader for the Fuel Moisture Sensor
Skype call with Peter Shin for troubleshooting the CTD SDI-12 communication protocol

## Slide 4: CTD and Fuel Moisture Sensor
There are still many connectivity issues with CTD
  SDI-12 to RS232 Translator communicates with computer, but not with RS232 shifter on Android Sensor Board
  Sensor does not communicate in either setup, could be due to power issues, but is unknown, may try testing with another SDI-12 sensor
Fuel Moisture Sensor
  Code is complete and ready
  Waiting for LT1168 to read the Fuel Stick Temperature which is needed in unison with the Fuel Stick Humidity to calculate Fuel Stick Moisture

## Slide 5: Culture

## Slide 6: Acknowledgements
Mentors
  Tony Fountain (CALIT2)
  Chau Chin Lin (TFRI)
  Sheng-Shan Lu (TFRI)
  Yu-Huang Wang (TFRI)
  Peter Shin (CALIT2)
PRIME
  Peter Arzberger
  Gabriele Wienhausen
  Teri Simas
  Tricia Taylor